Emergency Evacuation Plan for

The Maverik Center

Table of Contents

# Application, 1

Exterior, 6

Floor Occupancy, 7

Full, 7, 8

Percentage, 9, 10

General Use, 1

Fourth floor, 1, 2

Third floor, 3, 4

Second floor, 5

Information, 1

Scope, 1

Appendix

Fourth floor plan

Third floor plan

Ground level plan full floor

Ground level plan % floor

## Emergency Evacuation Plan

# Scope

This emergency evacuation is for all of the employees and users of the E Center.  This document will define the different uses and configurations that apply to The E Center.  From time to time, there may be special request for the use of the facility.  This special use will require the Fire Department to review the request and make the determination of the proper evacuation plan.

Application

The following guides are separated in the uses.  For all of the guides you must apply the “general use” for fix seating.  All other seating arrangements will differ when a stage is used on the floor.

### Information

The structure is provided with smoke removal, automatic fire detection, and automatic suppression systems.  Combination standpipes are installed at anticipated locations of use.

General Use (Floor for a game surface).

Fourth Floor:

Basic Information:

The configuration of fixed seats in sections are served by aisles.  Evacuation is not be section, but by aisles.  These aisles end at portals that are doubled lettered.  The portals open to the vomitory which is continuous from portal QQ, clockwise to portal VV.  This vomitory is service by four stair enclosures and two open stairs.

Ushers:

You are the first official that the public will encounter during the evacuation process.  Your calm, and reassuring attitude will greatly enhance an effective evacuation.  You must be aware of changing problems, such as the movement of people, smoke conditions, and other visible dangers.  Prompt direction to the public and change from the outline maybe required during an emergency.

Evacuation of the fourth floor.				Notes

Southwest stairs.

*	Aisles serving sections 217 & 218

shall move west along the top of the

concourse to portal QQ.

Portals QQ, PP, OO & The

Restaurant will be directed to the

Southwest stairs.

Northwest Stairs.

Portals NN, MM, LL & KK will be

Directed to the northwest stairs.

Northeast Stairs.

Portals DD, CC, BB & AA will be

Directed to the northeast stairs.

Southeast Stairs.

*	Aisles serving 219, 220, & 221 shall

move along the top of the concourse

to portal VV.

Portals ZZ, YY, XX, VV, &

Centennial Room, will be directed to

The open stairs and the stair enclosure.

*An usher shall be located at the end of the aisle

serving sections 218 & 219 directing those people

to portal VV.

Third Floor.

Basic Information.

The configuration of the fix seats in sections is served by aisles.  Evacuation is not by section but aisles.  These aisles end at portals that are singled lettered.  The portals open to the vomitory which is continuous from portal A, counter-clockwise to portal Z.  This vomitory is service by six stair enclosures and four open stairs.

Ushers:

You are the first official that the public will encounter during the evacuation process.  Your calm, and reassuring attitude will greatly enhance an effective evacuation.  You must be aware of changing problems, such as the movement of people, smoke conditions, and other visible dangers.  Prompt direction to the public and change from the outline maybe required during an emergency.

Evacuation on the third floor.			Notes

East Stairs.

Portals A, B, C, D will be directed

To the east stair enclosure.

Northeast stairs.

Portals E, F, G, & H will be directed

To the north east stair enclosure.

Northwest stairs.

Portals I & J will be directed to the

Northwest stair enclosure.

West Stairs.

Portals K, L, M, N, O, & P will be

Directed to the west and northwest

Stair enclosures.

Southwest Stairs

Portals Q & R will be directed to the

Southwest stair enclosure.

Second Floor.

Basic Information.

The second floor will receive the people form the fourth and third floors from the open stairs.  All stairs encloses empty to the exterior of the structure.

Evacuation of the second floor.				Notes

There are exit doors at the

Bottom of each of the stairs.

Direct the people out those doors.

Do not allow anyone to enter the

Stairs to the floor.

Floor Occupancy.

Basic information.

When the floor is occupied with a stage, and seats the following will be a requirement.  There will be exiting doors on both stage right and left.  Exits to the north will also permit the opening of the overhead doors in the center of the building.

Full floor occupancy with stage to the north.	Notes

Center Line.

The center of the floor occupancy is

Between Portals A & N.  Ushers shall

Be located at this point.  These ushers

Shall direct the people north or south

To an exit.  Cross aisles that connect to

The aisles along the hockey dasher

Boards will be directed to the closest

Exit.

Northwest quadrant.

*	The people in this section will be

directed to the northwest side of

the stage.  They shall use the exit

passage way to the exterior.

Northeast quadrant.

*	The people in this section will be

directed to the northeast side of the

stage.  They shall use the exit passage

way to the exterior.

Floor Occupancy (continued).

Basic information.

When the floor is occupied with a stage, and seats the following will be a requirement.  There will be exiting on both stage right and left.  Exits to the north will also permit the opening of the overhead doors in the center of the building.

% floor occupancy with stage to the north.		Notes

Center Line.

The center of the floor occupancy is

Between Portals P & Y.  Ushers shall

Be locked at this point.  These ushers

Shall direct the people north or south

To an exit.  Cross aisles that connect the

Aisles along the hockey dasher boards will

Be directed to the closest exit.

Northwest quadrant.

*	The people in this section will be

directed to the northwest side of

the stage.  They shall use the exit

passage way to the exterior.

Northeast quadrant.

*	The people in this section will be

directed to the northeast side of

the stage.  They shall use the exit

passage way to the exterior.